EEG Electrodes cont.

22, 11, 5.5, 2.75mm  ECG electrodes

- Print 2 Sets

- Acquire ECG using BIOPACK.

  - Note down their settings.

    - Filters

    - Sample rate

    - Scale

    - Other settings

    - Electrode Configuration

- Analyze the signals.

  - Calculate MSE, MAE, SNR, Cross Corr., Coherence

  - Time domain view (One-two portion) (separate plots, comparison plot)

  - Spectral view (separate plots, comparison plot)

  - Coherence view

|  | 22 | 11 | 5.5 | 2.75 |
| --- | --- | --- | --- | --- |
| Devinda | ☒ | ☒ | ☒ | ☒ |
| Kalana | ☒ | ☒ | ☒ | ☒ |
| Kulunu | ☒ | ☒ | ☒ | ☐ |
| Hirumi | ☒ | ☒ | ☒ | ☒ |

Applied filters: 0.05 – 100 Hz BP , 50-60 Notch filter

Sample rate: 500Hz

Scale: 20mV

Time Scale: 20s

Other settings: Non

Electrode configuration: Lead II

Position : Resting

Note : Biopack ECG practical two use for

the experiment with some modifications

Figure 1 Printed electrodes

Experimental setup

Figure 2 Subject 1 at the experiment

Figure 3 Subject 2 at the experiment

Results and discussion

- For D = 2.75 mm

- For D = 5.5 mm

For D = 11mm ,

For D = 22mm ,